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Case - Risk assessment and metering
Video link: 

· English https://youtu.be/kHNpmnFrp64  
· Spanish https://youtu.be/bSEWN_ovWO4
· Maltese https://youtu.be/u7bkOLRHjLw
· Danish https://www.youtube.com/embed/KN9q9mzZiZg?start=1099&end=1193 
· Greek https://youtu.be/sIbKOkQtrCc
Teacher instruction:

The case is based on watching a video which deals with safety issues:

The video can be watched with Danish or English dialogue. The English video can be watched with subtitles in Greek, Maltese, and Spanish

Read through the suggested Questions and Answers and ensure that all participants know what to look for

Let the course participants watch the video (Approx. 1.5 minutes), either together or individually. 

Question

Q1: What are the advantages of the two probes demonstrated in the video?

Answer

A1: The bolt type probe is suitable for measuring voltage over a long period of time the second probe only has a tiny area of metal thus preventing causing a short circuit while measuring.
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